ENT2800 set

- ENT2800A main operating unit				1

Painted metal body and marble surface			1

Glass touch control panel					1

electronic control system					1

Medicine spray gun							3

Blowing gun								1

Suction gun								1

Compressor								1

Vacuum pump								1

Positive air pressure regulating				1

Negative air pressure regulating				1

Instrument jar								2

Ointment jar								1

Hot air heater								1

LED Inspection light							1

Sewage collection system					1

Auto drain off system						1

Built-in LED cold light						1

Constant temperature irrigation system			1

- ENT2800C ENT cabinet						1

- ENT1900E electrical patient chair				1

- ENT1900A doctor stool						1

ENT1800DC set

- ENT1800DC main operating unit				1

Metal unit body							1

Electronic control system						1

Compressor								1

Vacuum pump								1

LED inspection light							1

Endoscope heater							1

Endoscope placement						3

Spray gun									3

Suction gun								1

Blowing gun								1

Instrument tray							2

Ointment jar								3

Sewage collect system						1

Built in trash bin							1

Built-in LED cold light						1

Used instrument tray						1

LED backlight X-ray view box					1

- ENT1900E electrical patient chair				1

- ENT1900A doctor stool						1

ENT1800DP set

- ENT1800DP main operating unit				1

Metal unit body							1

Electronic control system						1

Compressor								1

Vacuum pump								1

LED inspection light							1

Endoscope heater							1

Endoscope placement						3

Spray gun									3

Suction gun								1

Blowing gun								1

Instrument tray							1

Ointment jar								4

Sewage collect system						1

Built in trash bin							1

Built-in LED cold light						1

Used instrument tray						1

- ENT1900E electrical patient chair				1

- ENT1900A doctor stool						1